LESSON PLAN

DEPARTMENT OF CIVIL ENGINEERING, ITT, CHOUDWAR

SUBJECT: WATER SUPPLY AND WASTE WATER ENGINEERING                Periods: 5 per week              SEMESTER: 5TH

NAME OF FACULTY: RITUPURNA SWAIN                ACADEMIC YEAR.2022-2023

Semester From date:15/09/2022              To Date: 22/12/2022		             No. of weeks: 15

| Week | Class Day | Theory / Practical Topics |
| --- | --- | --- |
| 1st | 1st | SECTION A: WATER SUPPLY 1. Introduction to Water Supply, Quantity and Quality of water Necessity of treated water supply. |
|  | 2nd | Per capita demand, variation in demand and factors affecting demand , Methods of forecasting population, Numerical problems using different methods. |
|  | 3rd | Numerical problems using different methods |
| 2nd | 1st | Numerical problems using different methods |
|  | 2nd | Impurities in water – organic and inorganic, Harmful effects of impurities, Analysis of water –physical, chemical and bacteriological |
|  | 3rd | Water quality standards for different uses |
| 3rd | 1st | 2. Sources and Conveyance of water : Surface sources – Lake, stream, river and impounded reservoir, Underground sources – aquifer type & occurrence – Infiltration gallery, infiltration well, springs, well . |
|  | 2nd | Yield from well- method s of determination, Numerical problems using yield formulae ( deduction excluded) . |
|  | 3rd | Intakes – types, description of river intake, reservoir intake, canal intake, Pumps for conveyance & distribution – types, selection, installation. |
| 4th | 1st | Pipe materials – necessity, suitability, merits & demerits of each type, Pipe joints – necessity, types of joints, suitability. |
|  | 2nd | Methods of jointing Laying of pipes – method. 3. Treatment of water : Flow diagram of conventional water treatment system |
|  | 3rd | Treatment process / units : Aeration ; Necessity , Plain Sedimentation : Necessity, working principles |
| 5th | 1st | Sedimentation tanks – types, essential features, operation & maintenance , Sedimentation with coagulation: Necessity, principles of coagulation |
|  | 2nd | types of coagulants, Flash Mixer, Flocculator, Clarifier, Filtration : Necessity, principles, types of filters Slow Sand Filter, Rapid Sand Filter and Pressure Filter – essential features |
|  | 3rd | Disinfection : Necessity, methods of disinfection Chlorination – free and combined chlorine demand, |
| 6th | 1st | available chlorine, residual chlorine, pre-chlorination, break point chlorination, super- chlorination |
|  | 2nd | Softening of water – Necessity, Methods of softening – Lime soda process and Ion exchange method. |
|  | 3rd | 4. Distribution system And Appurtenance in distribution system: General requirements, types of distribution system-gravity, direct and combined |
| 7th | 1st | Methods of supply – intermittent and continuous , Distribution system layout – types, comparison, suitability |
|  | 2nd | Valves-types, features, uses, purpose-sluice valves, check valves, air valves, scour valves, Fire hydrants, Water meters |
|  | 3rd | 5. W/s plumbing in building : Method of connection from water mains to building supply |
| 8th | 1st | General layout of plumbing arrangement for water supply in single storied and multi-storied building as per I.S. code. |
|  | 2nd | WASTE WATER ENGINEERING 6 :Introduction : Aims and objectives of sanitary engineering |
|  | 3rd | Definition of terms related to sanitary engineering , Systems of collection of wastes– Conservancy System |
| 9th | 1st | Systems of collection of wastes– Water Carriage System,features, comparison, suitability |
|  |  | 7.Quantity and Quality of sewage , Quantity of sanitary sewage – domestic & industrial sewage, variation in sewage flow, numerical problem on computation quantity of sanitary sewage |
|  | 2nd |  |
|  | 3rd | Computation of size of sewer, application of Chazy’s formula, Limiting velocities of flow : self-cleaning and scouring |
| 10th | 1st | General importance, strength of sewage, Characteristics of sewage-physical, chemical & biological |
|  | 2nd | Concept of sewage-sampling, tests for – solids, pH, dissolved oxygen, BOD, COD |
|  | 3rd | 8. Sewerage system :Types of system-separate, combined, partially separate , features |
| 11th | 1st | comparison between the types, suitability, Shapes of sewer – rectangular, circular, avoid-features, suitability |
|  | 2nd | Laying of sewer-setting out sewer alignment |
|  | 3rd | 9.Sewer appurtenances and Sewage Disposal: Manholes and Lamp holes – types, features, location, function |
| 12th | 1st | Inlets, Grease & oil trap – features, location, function , Storm regulator, inverted siphon – features, location, function |
|  | 2nd | Disposal on land – sewage farming, sewage application and dosing |
|  | 3rd | sewage sickness-causes and remedies |
|  | 1st | Disposal by dilution – standards for disposal in different types of water bodies, self purification of stream |
| 13th | 2nd | 10. Sewage treatment :Principles of treatment, flow diagram of conventional treatment |
|  | 3rd |  |
|  |  | Principles of treatment, flow diagram of conventional treatment |
| 14th | 1st | 2 Primary treatment – necessity, principles, essential features, functions |
|  | 2nd | Secondary treatment – necessity, principles, essential features, functions |
|  | 3rd | 11. Sanitary plumbing for building : Requirements of building drainage, layout of lavatory blocks in residential buildings |
| 15th | 1st | layout of building drainage, Plumbing arrangement of single storied & multi storied building as per I.S. code practice |
|  | 2nd | Sanitary fixtures – features, function, and maintenance and fixing of the fixtures – water closets, flushing cisterns, urinals |
|  | 3rd | inspection chambers, traps, antisyphonage pipe |